## Slide 1: EPC Contract – Pre-bid Meeting Presentation

## Slide 2: Agenda
14th August
  Lunch requirements – show of hands: fish, meat or vegetarian
  Introductions to DGDC and Jacobs
  Presentations by DGDC and Jacobs
  Brief discussion on tax/duty exemptions
  Introductions to Solid Waste and Environment and Health
  Check PPE
  Bus to Lunch (provided by DGDC)
  Bus to site visit of Power Plant site and first section reinjection line including suspension bridge site
  Return by bus to Financial Centre

## Slide 3: Agenda
15th August
  8.00am start at DGDC offices
  Bus to Wotten Waven wellpad. Walk/hike to cliff area of reinjection line
  Walk to gorge crossing between Wotten Waven and Trafalgar
  Bus to Trafalgar wellpad
  Bus return to lunch
  Return by bus to Financial Centre
  Question and Answer session
  Close

## Slide 4: Reason/objective of project
Reduction of high electricity tariff rates
Reduction or elimination of use of diesel fuel oil generation
Increase price certainty in electricity tariffs – diesel fuel oil varies in cost
Overall effect – make Dominica a more attractive place to do business & reduce cost burden to community
Increase resilience – Dominica has objective to be World’s first climate resilient nation. Geothermal plant must be designed and built with high resilience & high reliability
Reduce carbon footprint by maximising use of renewable energy

## Slide 5: Technical restrictions on project
Dominica has network restrictions brought about by sole use of 11kV for both “network” and distribution
Bulk of power distribution and consumption around Roseau. Average load around 11MW at present, peak at 14.8MW
Very limited ability to move power from south to north over 11kV
Largest generator on island at present is 3.5MW
Only one production well available at present – comfortably produce 7MW
Putting all this together is the basis for the RfB requirements for the generator size and quantity

## Slide 6: DGDCs role now and going forward
DGDC is a private “special purpose” company with its own Board
It was created in 2017 to ensure it could operate free from direct Government oversight
It is 100% owned by the Government of the Commonwealth of Dominica (GoCD)
Equity (wells, land, WB finance) are transferred from GoCD to the DGDC under a Subsidiary Agreement
DGDC is the Employer in the context of the EPC contract
DGDC will continue to own and manage the assets as they are constructed and then operated

## Slide 7: History to date
Wells drilled by IDC using AfD funding.
Three slim-holes drilled initially: WW-01, WW-02 and WW-03
Two full bore wells then drilled: WW-R1, WW-P1
WW-P1 was flow tested in June 2014
Feasibility studies undertaken informed project scope
GoCD initially went down route of an IPP
GoCD then reassessed and decide to go with present model
DGDC formed in 2017
Hurricane Maria in September 2017 delayed project approx. 1 year but caused no notable damage to DGDC assets
ESIA completed in 2018
World Bank financing approved May 2019

## Slide 8: UNESCO site / Significance of Area
Project site is in proximity to UNESCO world heritage site of the Morne Trois Pitons National Park.
A buffer zone exists between park and project Site
Trafalgar, Laudat / Titou Gorge is significant tourist area with numerous attractions in close proximity to the plant Site
In tourist season (January to June) one or more cruise ships arrive every weekday and many of the passengers will visit Trafalgar, Laudat / Titou Gorge areas. Numerous mini buses will make the trip to Titou and Laudat every day carrying tourists
As consequence of above, more effort than usual is required to minimise impact of construction

## Slide 9: Local communities
Project Site is in proximity to three local communities:
  Laudat
  Trafalgar
  Wotten Waven
Local communities have been extensively consulted and to date are generally in support of the project
It is recognised that the impact during construction from increased traffic, increased numbers of people, will be significant
It is very important that the EPC contractor and the project are “good neighbours” throughout.
DGDC is and will continue to be, the point of official contact between the Project the Communities

## Slide 10: ESIA
The ESIA and the associated ESMP are very important documents for the Project
The ESMP addressed all the issue raised in the ESIA
The ESMP therefore dictates the requirements for all mitigation measures
Some of these are for the DGDC to attend to
The rest (the bulk of them) are under the EPC contractor’s responsibility and hence are included in the RfB
The DGDC will monitor the EPC contractor very closely to ensure compliance. Failure to comply will have serious consequences

## Slide 11: DOMLECs involvement
DOMLEC is Dominica’s privately owned electricity generation and distribution company
It is currently the sole generator and distributor (apart from some small scale solar installations)
The DGDC has a provisional Power Purchase Agreement (PPA) agreed with DOMLEC
DOMLEC and the DGDC are subject to the regulation by the Independent Regulatory Commission (IRC)
DOMLEC will be installing the interconnection between the local Laudat hydro station and the project

## Slide 12: Land acquisition
Wellpads were acquired by GoCD and are transferred to DGDC
DGDC has spent considerable time refining the project concept design to minimise the numbers of private land owners affected
GoCD is in process of acquiring the land for the project
Only certain pieces of lands or certain titles are required for the project and are to be acquired
This is the reason the RfB specially defines the Site; in some cases the DGDC has requested the GoCD to only acquire a corridor of land (for the bulk of the reinjection pipe this is the case)
EPC contractor must therefore, stay within the Site

## Slide 13: O&M contract
DGDC will separately contract for Operations and Maintenance (O&M) of the plant
Aim is to engage O&M contractor approx. six month prior to Operational Acceptance for first portion of contract
O&M contractor’s staff to be trained by EPC contractor as though they are the Employers staff
EPC contract requires two years of support of the O&M contractor post Operational Acceptance of the second (& final) portion of the EPC contract

## Slide 14: RfB Document Overview
The RfB follows the prescribed World Bank format
Part 1 has the rules that govern the submission and evaluation of the bids. It includes the documents that are required, and a commentary on how the Employer will evaluate the bids,
Part 2 is the Employer’s Requirements, setting out the technical specifications that need to be met by the contractor.
Part 3 are the Conditions of Contract - the rules that govern the administration of the contract between the Employer and the Contractor

## Slide 15: RfB Highlights
Ref ITB13, the only alternative is steam turbine plant vs binary plant
The qualification criteria are go / no go. There is no room for judgement
Bids will be rejected if not substantive
Price Schedules 1, 3, & 4 are quite detailed. Full completion is required
Technical Schedules are also detailed and require full completion
The evaluation criteria are quite straightforward as set out in ITB Section 1E
When designing the layout, the power plant is to be centred within the associated land title boundary. We do not want any deviation from this (to maintain buffer to adjacent lands)
Attention is drawn to Part 1, Section VI, Fraud and Corruption

## Slide 16: Expected Timeline
Bid Period
3 months : 22 July to 22 October
Clarification submission / response
Site visits / inspections
Evaluation
5 weeks : 23 October to 29 November
WB Approval
3 weeks : 2 December to 20 December
Standstill Period
2 weeks : 23 December to 3 January
Contract Award
6 January 2020
Bid Period
Evaluation
WB Approval
Standstill Period
All dates are subject to change

## Slide 17: Contract execution & Jacobs role
Mark Tomkins – Contracted to DGDC (separate to Jacobs) and nominated as Project Manager in the Contract
Jacobs are engaged directly to DGDC as their owners engineer
Jacobs role to provide engineering and construction support during procurement, construction and commissioning to DGDC
Jacobs will support DGDC and be appointed the Project Manager’s designated representative for selected activities for certain events throughout
Jacobs involvement includes:
  Document submission and review procedure
  Certain construction / factory inspection / supervision and testing events
  Commissioning and performance testing
Jacobs will have a site presence to undertake supervision activities during construction and commissioning including: Senior Resident Engineer, Civil Resident Engineer, Electrical & C&I Engineer and Commissioning Engineers

## Slide 18: H&S for Site Visit - Hazards
H2S
  Hydrogen Sulphide extremely toxic and dangerous
  Colourless, Flammable, Heavier than air (stays in low points)
  Rapidly dispersed by wind or air
  Below 100ppm pungent smell
  Over 100ppm no smell is detected, paralysis of olfactory nerve
  15-50ppm - long term exposure - will cause headaches, nausea
  50-200ppm - short term exposure - fatal
  1000ppm or above - one breath enough to kill
  Wotten Waven wellpad has high H2S levels.

## Slide 19: H&S for Site Visit - Hazards
Wellpads have deep sumps filled with water, not always fenced – do not approach closer than 1m to edge
Wellhead cellars – mostly fenced off, but those that are not – do not approach closer than 1m to edge
Walking paths – usual under-foot hazards, loose rocks, fallen trees, vines, hidden holes. DGDC has cleared most paths for sire visits, but care must be taken – WATCH where you are walking. If you want to look around, STOP walking and then look