## OHL Schedule 3 Total
OHL Schedule 3 Total
Schedule of Rates and Prices
Schedule No. 3. Design Services
Item | Description |  |  |  | Total Price1
[5 empty] | Local Currency Portion | Foreign Currency Portion
OHL S3 | Total from Schedule No. 3. Design Services |  |  |  | 0 | 0
Grand Summary for OHL Schedule 3 |  |  |  |  | 0 | 0
Name of Bidder
Signature of Bidder
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
Country of Origin Declaration Form
Item | Description |  | Code | Country

## OHL S3
OHL S3
Schedule No. 3. Design Services
Item | Description | UOM | Qty. | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
69 KV GFI OHL
69KVSC0301 | Lidar Survey | Sum | 1 |  |  | 0 | 0
Note: LIDAR Survey - Provision of an arial Lidar topographic survey data for the length of the 69kV line. Processed LIDAR data to be provided in PLS Cadd format, within 90 days of tender award. The extents of the survey are a strip 300m wide. The processed LIDAR data must include all above-ground obstacles including existing mv conductors, lv conductors, structures, towers, masts buildings, walls, cable ways, and vegetation all to be seperated into unique feature codes. The processed LIDAR data must include all on-ground features including roads, edge of roads, rail, wetlands, water ways, agricultural land, plantations. Over and above normal ground points, there shall be a seperate feature codes based on slope 20 deg, and 40 deg.
69KVSC0302 | Check Survey | Sum | 1 |  |  | 0 | 0
Notes: Check Survey - Provision of check survey, by means of manual survey methods, for the duration of the project. Check Survey to include: Identification of pipelines, communications ducts, manholes, and any other features which cannot be identified by Lidar. Provision of cadastral data including road reserve boundaries. Verification of suitability of structure and stay placement on site. Pegging of structure pole positions and stays. Verification of as built installation.
69KVSC0303 | Structure and Line design | Sum | 1 |  |  | 0 | 0
Note: Structure and Line Design - Provision of all Method 4 PLS Pole structure designs within 60 days of tender award. Provision of all shop manufacture drawings within 90 days of tender award. Provision of PLS Cadd line design within 90 days of tender award.
69KVSC0305 | Design Software | Sum | 1 |  |  | 0 | 0
Notes: Provision of Software: Provision PLS Cadd, for the duration of the project. Provision of Caisson for the duration of the project. Provision of PLS Pole for the duration of the project. Provision of Global Mapper GIS Software for the duration of the project.
33 KV TRAFALGAR CLIFF OHL
33KVSC0302 | Check Survey | Sum | 1 |  |  | 0 | 0
Notes: Check Survey - Provision of check survey, by means of manual survey methods, for the duration of the project. Check Survey to include: Identification of pipelines, communications ducts, manholes, and any other features which cannot be identified by Lidar. Provision of cadastral data including road reserve boundaries. Verification of suitability of structure and stay placement on site. Pegging of structure pole positions and stays. Verification of as built installation.
33KVSC0303 | Structure and Line design | Sum | 1 |  |  | 0 | 0
Notes: Structure and Line Design - Provision of all Method 4 PLS Pole structure designs within 60 days of tender award. Provision of all shop manufacture drawings within 90 days of tender award. Provision of PLS Cadd line design within 90 days of tender award.
|  | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with ITB 18
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check survey??? Reply: Changed from Manual survey to Check survey
Note on C19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check survey??? Reply: Changed from Manual survey to Check survey

## from pls (hidden)
Row # | Stock Number | Description | Quantity | Unit of Measure | Material Unit Cost | Total Material Cost | Labor Unit Cost | Total Labor Cost | Total Cost
1 | 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 4
2 | 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | Each | 0 | 0 | 0 | 0 | 0 | 4
3 | 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 4
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
Schedule 1 Plant and Mandatory Spare Parts Supplied from Abroad
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
| 11SI01 | Set of aluminium emergency restoration structures | 1 | [6 empty] | 6
| 11SI02 | Complete Type A suspension structure. | 1 | [6 empty] | 6
| 11SI03 | Complete Type B angle structure. | 1 | [6 empty] | 6
| 11SI04 | Complete Type C angle structure. | 1 | [6 empty] | 6
Schedule 4 Installation
| 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | [6 empty] | 4
| 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | [6 empty] | 4
| 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | [6 empty] | 4
| 2MO01 | Site Establishment (Lumpsum)) | 1 | [6 empty] | 4
| 3AR01 | Access roads (Lumpsum) | 1 | [6 empty] | 4
| 4BC01 | Bush clearing (Lumpsum) | 1 | [6 empty] | 4
| 5ER01 | Structure erection (Lumpsum) | 1 | [6 empty] | 4
| 6SG01 | Stringing of Conductor (Lumpsum) | 1 | [6 empty] | 4
| 6SG02 | Stringing of OPGW (Lumpsum) | 1 | [6 empty] | 4
| 6SG03 | Stringing of Shield Wire (Lumpsum) | 1 | [6 empty] | 4
| 7HE01 | Helicopter Work (Lumpsum) | 1 | [6 empty] | 4
Schedule 3 Design Services
| SC0301 | Lidar Survey | 1 | [6 empty] | 3
| SC0302 | Manual Survey services | 1 | [6 empty] | 3
| SC0303 | Structure and Line design | 1 | [6 empty] | 3
| SC0304 | Testing Services | 1 | [6 empty] | 3
| SC0305 | Design Software | 1 | [6 empty] | 3
| SC0306 | Training | 1 | [6 empty] | 3