## OHL Schedule 5 Total
OHL Schedule 5 Total
Schedule of Rates and Prices
Schedule No. 5. Grand Summary
Item | Description |  |  |  | Total Price1
[5 empty] | Local | Foreign
OHL S5 | Total from Schedule No. 5. Grand Summary |  |  |  | 0 | 0
Grand Summary for OHL Schedule 5 |  |  |  |  | 0 | 0
Name of Bidder
Signature of Bidder
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
Country of Origin Declaration Form
Item | Description |  | Code | Country

## OHL S5
OHL S5
Schedule No. 5. Grand Summary
Item | Description | Total Price1
|  | Local | Foreign
OHL S1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad | N/A | 0
OHL S2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country | 0 | N/A
OHL S3 | Total Schedule No. 3. Design Services | 0 | 0
OHL S4 | Total Schedule No. 4. Installation and Other Services | 0 | 0
OHL S6 | Total Schedule No. 6. Recommended spare parts | 0 | 0
| TOTAL (to Letter of Bid) | 0 | 0
Name of Bidder
Signature of Bidder
1Specify currency in accordance with ITB 18. Create and use as many columns for Foreign Currency requirement as there are foreign currencies
Note on C12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ??????? Reply: This is intended to cover local taxes and duties

## from pls (hidden)
Row # | Stock Number | Description | Quantity | Unit of Measure | Material Unit Cost | Total Material Cost | Labor Unit Cost | Total Labor Cost | Total Cost
1 | 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 4
2 | 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | Each | 0 | 0 | 0 | 0 | 0 | 4
3 | 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 4
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
Schedule 1 Plant and Mandatory Spare Parts Supplied from Abroad
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
| 11SI01 | Set of aluminium emergency restoration structures | 1 | [6 empty] | 6
| 11SI02 | Complete Type A suspension structure. | 1 | [6 empty] | 6
| 11SI03 | Complete Type B angle structure. | 1 | [6 empty] | 6
| 11SI04 | Complete Type C angle structure. | 1 | [6 empty] | 6
Schedule 4 Installation
| 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | [6 empty] | 4
| 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | [6 empty] | 4
| 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | [6 empty] | 4
| 2MO01 | Site Establishment (Lumpsum)) | 1 | [6 empty] | 4
| 3AR01 | Access roads (Lumpsum) | 1 | [6 empty] | 4
| 4BC01 | Bush clearing (Lumpsum) | 1 | [6 empty] | 4
| 5ER01 | Structure erection (Lumpsum) | 1 | [6 empty] | 4
| 6SG01 | Stringing of Conductor (Lumpsum) | 1 | [6 empty] | 4
| 6SG02 | Stringing of OPGW (Lumpsum) | 1 | [6 empty] | 4
| 6SG03 | Stringing of Shield Wire (Lumpsum) | 1 | [6 empty] | 4
| 7HE01 | Helicopter Work (Lumpsum) | 1 | [6 empty] | 4
Schedule 3 Design Services
| SC0301 | Lidar Survey | 1 | [6 empty] | 3
| SC0302 | Manual Survey services | 1 | [6 empty] | 3
| SC0303 | Structure and Line design | 1 | [6 empty] | 3
| SC0304 | Testing Services | 1 | [6 empty] | 3
| SC0305 | Design Software | 1 | [6 empty] | 3
| SC0306 | Training | 1 | [6 empty] | 3