## LAUDAT SUB S1
LAUDAT SUB S1
Schedule of Rates and Prices
Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Code1 | UOM | Qty. (Indicative)³ | Unit Price2 |  | Total Price2
[5 empty] | Foreign Currency | CIP
|  |  |  | (1) | (2) | (3) | (1) x (3)
1 | Repurposing of the existing 11 kV Switchgear
1.1 | New differential protection relay for the repurposed feeder (identical to the opposite relay in Geothermal SS) |  | Pcs | 1 |  |  | 0
1.2 | MV current transformer adapted to a transit of 5MVA |  | Pcs | 1 |  |  | 0
1.3 | Energy meter |  | Pcs | 1 |  |  | 0
2 | Power and Control Cables
2.1 | Control, protection, metering cables as required |  | Sum | 1 |  |  | 0
2.2 | Cable trays, supports, terminations, etc. |  | Sum | 1 |  |  | 0
3 | Telecommunication System
3.1 | FO link betwen protection relay and telecom cabinet ODF |  | Sum | 1 |  |  | 0
3.2 | Cabinet with redundant power supply including (but not limited) to: Optical distribution frame with pigtails, SDH/Router terminal equipment and terminal multiplexer, 10 Base-T/100Base-TX fast Ethernet ports, PCM access multiplexer and accessories |  | Sum | 1 |  |  | 0
3.3 | Telephone IP sets incl. Cabling and interfacing to FO access mux and central PABX |  | Pcs | 2 |  |  | 0
4 | Other Equipment
4.1 | Any other equipment for Substation to fulfill the purpose of the project |  | Sum | 1 |  |  | 0
[6 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0
Name of Bidder
Signature of Bidder
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
3 Quatities are Indicative and the Total is a lumpsum price.
Country of Origin Declaration Form
| Item | Description |  | Code | Country

## LAUDAT SUB S2
LAUDAT SUB S2
Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Item | Description | UOM | Qty. | EXW Unit Price1 | Sales and other taxes payable per line item if Contract is awarded (in accordance with ITB 17.5 (b) (ii) | EXW Total Price1
| Not Applicale |  | (1) | (2) | (3) | (1) x (2)
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1

## LAUDAT SUB S3
LAUDAT SUB S3
Schedule No. 3. Design Services
Item | Description | UOM | Qty. | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
1 | Design, engineering and documentation
1.1 | Preparation works, localisation of substations, check of existing infrastructure, data collection, etc. | Sum | 1 |  |  | 0 | 0
1.2 | Design and Studies
| Design of the modification on the existing 11kV cabinet: protection relay, current transformer, etc | Sum | 1 |  |  | 0 | 0
| Design of Telecommunication equipment | Sum | 1 |  |  | 0 | 0
1.3 | Documentation, drawings, schematics and as built documents | Sum | 1 |  |  | 0 | 0
|  |  | TOTAL (to Schedule No. 5. Grand Summary) |  |  | 0 | 0
Name of Bidder
Signature of Bidder

## LAUDAT SUB S4
LAUDAT SUB S4
Schedule No. 4. Installation and Other Services
Item | Description | UOM | Qty. (Indicative)² | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local | Foreign
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
1 | GENERAL MOBILIZATION AND DEMOBILIZATION
1.1 | Mobilization and Demobilization, site cleaning | Sum | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
2 | Repurposing of the existing 11 kV Switchgear: installation and connection
2.1 | New differential protection relay for the repurposed feeder (identical to the opposite relay in Geothermal SS) | Pcs | 2 |  |  | 0 | 0
2.2 | MV current transformer adapted to a transit of 5MVA | Pcs | 1 |  |  | 0 | 0
2.3 | Energy meter | Pcs | 1 |  |  | 0 | 0
3 | Power and Control Cables
3.1 | Control, protection, metering cables as required | Sum | 1 |  |  | 0 | 0
3.2 | Cable trays, supports, terminations, etc. | Sum | 1 |  |  | 0 | 0
4 | Telecommunication System: installation and connection
4.1 | FO link betwen protection relay and telecom cabinet ODF and splicing to pigtails | Sum | 1 |  |  | 0 | 0
4.2 | Cabinet with redundant power supply including (but not limited) to: Optical distribution frame with pigtails, SDH/Router terminal equipment and terminal multiplexer, 10 Base-T/100Base-TX fast Ethernet ports, PCM access multiplexer and accessories | Sum | 1 |  |  | 0 | 0
4.3 | Telephone IP sets incl. Cabling and interfacing to FO access mux and central PABX | Pcs | 2 |  |  | 0 | 0
5 | Testing, Commisioning, Final inspection and Energizing
5.1 | Testing and commissioning | Sum | 1 |  |  | 0 | 0
5.2 | Final inspection and energizing | Sum | 1 |  |  | 0 | 0
6 | Other Equipment
6.1 | Any other equipment for Substation to fulfill the purpose of the project | Sum | 1 |  |  | 0 | 0
[5 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with ITB 18
2 Quatities are Indicative and the Total is a lumpsum price.

## LAUDAT SUB S5
LAUDAT SUB S5
Schedule No. 5. Grand Summary
Item | Description | Total Price1
|  | Local | Foreign | LAUDAT SUB S5
LAUDAT SUB S1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad | N/A | 0
LAUDAT SUB S2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country | 0 | N/A
LAUDAT SUB S3 | Total Schedule No. 3. Design Services | 0 | 0
LAUDAT SUB S4 | Total Schedule No. 4. Installation and Other Services | 0 | 0
LAUDAT SUB S6 | Total Schedule No. 6. Recommended spare parts | 0 | 0
| TOTAL (to Letter of Bid) | 0 | 0
Name of Bidder
Signature of Bidder
1Specify currency in accordance with ITB 18. Create and use as many columns for Foreign Currency requirement as there are foreign currencies

## LAUDAT SUB S6
LAUDAT SUB S6
Schedule No. 6. Recommended Spare Parts
Item | Description | UOM | Qty. | Unit Price |  | Total Price
|  |  |  | EXW | CIF or CIP
|  |  |  | (local parts) | (foreign parts) | (local parts) | (foreign parts)
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[5 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder