## UGC Schedule 4 Total
UGC Schedule 4 Total
Schedule of Rates and Prices
Schedule No. 4. Installation and Other Services
Item | Description |  |  |  | Total Price1
[5 empty] | Local | Foreign
UGC S4 | Total from Schedule No. 4. Installation and Other Services |  |  |  | 0 | 0
Grand Summary for UGC Schedule 4 |  |  |  |  | 0 | 0
Name of Bidder
Signature of Bidder
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
Country of Origin Declaration Form
Item | Description |  | Code | Country

## UGC S4
UGC S4
Schedule No. 4. Installation and Other Services
Item | Description | UOM | Qty. | Unit Price1 |  | Total Price1
|  |  | (Indicative)² | Local Currency Portion | Foreign Currency Portion | Local | Foreign
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
69 KV GFI UGC
69KVMOB | MOBILISATION AND DEMOBILIZATION
69KVMOB01 | Mobilization and the site installation: offices, furniture, vehicles and storage area | Sum | 1 |  |  | 0 | 0
69KVMOB02 | Demobilization, site cleaning and transportation of spare parts and surplus equipment to the Employer's warehouse | Sum | 1 |  |  | 0 | 0
69KVTRE & JB | CABLE TRENCHING & JUNCTION MANHOLE
69KVTRE01 | Normal Cable trenching, not under asphalt (with 3 Cable Ducts for 3*69 KV Cables and 1 for FO Cable and warning grid) | m | 1600 |  |  | 0 | 0 | 40% of trench lenght 4000m
69KVTRE02 | Cable trenching under Asphalt (with 3 Cable Ducts for 3*69 KV Cables and 1 for FO Cable and warning grid) | m | 2400 |  |  | 0 | 0 | 60% of trench lenght 4000 m
69KVJB01 | Manhole for 69kV cables Joint | pcs | 3 |  |  | 0 | 0
69KVJB02 | Manhole for 69kV cables cross-bonding | pcs | 3 |  |  | 0 | 0
69KVJB03 | FO underground Manhole (L3T type) | pcs | 1 |  |  | 0 | 0
69KVJB04 | Anchoring boxes | pcs | 2 |  |  | 0 | 0
69KVCAI | CABLE INSTALLATION: SITE TRANSPORTATION, STRINGING AND CONNECTION (BOTH ENDS)
69KVCAI01 | 69 KV single core aluminum cable 240mm² | m | 12600 |  |  | 0 | 0 | 3,15 x trench Length 4000 m
69KVCAI02 | Underground Fibre Optic Cable 48F | m | 4200 |  |  | 0 | 0 | 1,05 x trench Length 4000m
69KVCAAI | CABLE ACCESSORIES INSTALLATION AND CONNECTION
69KVCAAI01 | 69 kV outdoor composite cable termination with integrated surge arrester including support brackets/ or pedestral colomn (for one phase) | pcs | 9 |  |  | 0 | 0
69KVCAAI02 | 69 kV dry plug-in SF6 gas immersed sealing end for GIS (for one phase) | pcs | 3 |  |  | 0 | 0
69KVCAAI03 | 69kV cable joints (for one phase), with cable jointing | pcs | 9 |  |  | 0 | 0
69KVCAAI04 | Cross-bonding box with SVL (for three phases) and all necessary accessories (cables lugs,…) | pcs | 3 |  |  | 0 | 0
69KVCAAI05 | Earthing box with all necessary accessories (cables lugs,…) | pcs | 4 |  |  | 0 | 0
69KVCAAI06 | FO Splice box for pole mounting with slack spool bracket, with FO splicing | pcs | 2 |  |  | 0 | 0
69KVCAAI07 | FO Splice box for manhole underground mounting, with FO splicing | pcs | 1 |  |  | 0 | 0
69KVCAAI08 | Splicing of FO cable (at Geothermal and Fond Cole substations ODFs) | Sum | 1 |  |  | 0 | 0
69KVCAAI09 | Cable clamping in anchoring box with all necessary accessories | Sum | 2 |  |  | 0 | 0
69KVCAAI10 | 35mm² copper cable with all accessories to link OPGW and Terminal Poles earth (from two earth boxes poles mounted) to substations earth grid both sides (Geothermal and Fond Cole) | Sum | 1 |  |  | 0 | 0
69KVCOM | Testing, Commisioning, Final inspection and Energizing
69KVCOM01 | Testing and commissioning of 69kV cable link | Sum | 1 |  |  | 0 | 0
69KVCOM02 | Testing and commissioning of FO cable link | Sum | 1 |  |  | 0 | 0
69KVCOM03 | Final inspection and energizing | Sum | 1 |  |  | 0 | 0
69KVFAT | Factory Acceptance test
69KVFAT01 | 69kV, 33kV and 11kV cables FAT | Sum | 1 |  |  | 0 | 0
69KVFAT02 | FO cable FAT | Sum | 1 |  |  | 0 | 0
69KVTRN | Training
69KVTRN01 | Field training of operation and maintenance personnel, Ten (10) persons for one (1) week: Ageing, quality assurance, testing, diagnostics and failures of power cables 69kV, 33kV and 11kV | Sum | 1 |  |  | 0 | 0
69KVTRN02 | Field training of operation and maintenance personnel, Ten (10) persons for one (1) week: Installation, Testing , commissioning and maintenance of UGC accessories (Hot and Cold-shrinkable Cable Termination, SF6 gas immersed sealing end, joint boxes, cross-bonding boxes) | Sum | 1 |  |  | 0 | 0
69KVTRN03 | Field training, Ten (10) persons for one (1) week, of Installation and commissioning of FO cables and splicing boxes. Demonstration of splicing procedure and ODTR testing | Sum | 1 |  |  | 0 | 0
33 KV GFI UGC
33KVMOB | MOBILISATION AND DEMOBILIZATION
33KVMOB01 | Mobilization and the site installation: offices, furniture, vehicles and storage area | Sum | 1 |  |  | 0 | 0
33KVMOB02 | Demobilization, site cleaning and transportation of spare parts and surplus equipment to the Employer's warehouse | Sum | 1 |  |  | 0 | 0
33KVTRE & JB | CABLE TRENCHING & JUNCTION MANHOLE
33KVTRE01 | Normal Cable trenching, not under asphalt (with 1 Cable Ducts for 33 KV Cable and 1 for FO Cable and warning grid) | m | 4320 |  |  | 0 | 0 | 40% of trench lenght 10800m
33KVTRE02 | Cable trenching under Asphalt (with 1 Cable Ducts for 33 KV Cables and 1 for FO Cable and warning grid) | m | 6480 |  |  | 0 | 0 | 60% of trench lenght 10800m
33KVJB01 | Manhole for 33kV cables Joint | pcs | 8 |  |  | 0 | 0
33KVJB02 | Manhole for 33kV cables cross-bonding | pcs | 8 |  |  | 0 | 0
33KVJB03 | FO underground Manhole (L3T type) | pcs | 3 |  |  | 0 | 0
33KVCAI | CABLE INSTALLATION: SITE TRANSPORTATION, STRINGING AND CONNECTION (BOTH ENDS)
33KVCAI01 | 33kV three core copper cable 240 mm2 | m | 11340 |  |  | 0 | 0 | 1,05 x trench Length 10800m
33KVCAI02 | Underground Fibre Optic Cable 48F | m | 11340 |  |  | 0 | 0 | 1,05 x trench Length 10800m
33KVCAAI | CABLE ACCESSORIES INSTALLATION AND CONNECTION
33KVCAAI01 | 33kV indoor cold-shrinkable cable terminations kit (for three phases) | pcs | 6 |  |  | 0 | 0
33KVCAAI02 | 33kV outdoor cold-shrinkable cable terminations kit (for three phases) with integrated/or separate surge arresters (for each phase) including support brackets/ or pedestral colomn | pcs | 2 |  |  | 0 | 0
33KVCAAI03 | 33kV cable joints (for three phases), with cable jointing | pcs | 8 |  |  | 0 | 0
33KVCAAI04 | Cross-bonding box with SVL (for three phases) and all necessary accessories (cables lugs,…) | pcs | 8 |  |  | 0 | 0
33KVCAAI05 | Earthing box with all necessary accessories (cables lugs,…) | pcs | 8 |  |  | 0 | 0
33KVCAAI06 | FO Splice box for pole mounting with slack spool bracket, with FO splicing | pcs | 2 |  |  | 0 | 0
33KVCAAI07 | FO Splice box for manhole underground mounting, with FO splicing | pcs | 3 |  |  | 0 | 0
33KVCAAI08 | Splicing of FO cable (at Geothermal, Trafalgar, Padu and Fond Cole substations ODFs) | Sum | 1 |  |  | 0 | 0
33KVCAAI09 | 35mm² copper cable with all accessories to link OPGW and Terminal Poles earth (from two earth boxes poles mounted) to substations earth grid both sides (Geothermal and Trafalgar) | Sum | 1 |  |  | 0 | 0
33KVCOM | Testing, Commisioning, Final inspection and Energizing
33KVCOM01 | Testing and commissioning of 33kV cable link (betwen all substations) | Sum | 1 |  |  | 0 | 0
33KVCOM02 | Testing and commissioning of FO cable link (betwen all substations) | Sum | 1 |  |  | 0 | 0
33KVCOM03 | Final inspection and energizing for all substations 33kV links | Sum | 1 |  |  | 0 | 0
11 KV GFI UGC
11KVMOB | MOBILISATION AND DEMOBILIZATION
11KVMOB01 | Mobilization and the site installation: offices, furniture, vehicles and storage area | Sum | 1 |  |  | 0 | 0
11KVMOB02 | Demobilization, site cleaning and transportation of spare parts and surplus equipment to the Employer's warehouse | Sum | 1 |  |  | 0 | 0
11KVTRE & JB | CABLE TRENCHING & JUNCTION BOX
11KVTRE01 | Cable trenching under Asphalt (with 1 Cable Ducts for 11 KV Cables and 1 for FO Cable and warning grid) | m | 550 |  |  | 0 | 0 | 100% of trench lenght 550m
11KVCAI | CABLE INSTALLATION: SITE TRANSPORTATION, STRINGING AND CONNECTION (BOTH ENDS)
11KVCAI01 | 11kV three core aluminum cable 185 mm2 | m | 577.5 |  |  | 0 | 0 | 1,05 x trench Length 550m
11KVCAI02 | Underground Fibre Optic Cable 48F | m | 577.5 |  |  | 0 | 0 | 1,05 x trench Length 550m
11KVCAAI | CABLE ACCESSORIES INSTALLATION AND CONNECTION
11KVCAAI01 | 11kV outddor cold-shrinkable Cable Termination Kit (for three phases) | pcs | 1 |  |  | 0 | 0
11KVCAAI02 | 11kV indoor cold-shrinkable Cable Termination Kit (for three phases) | pcs | 1 |  |  | 0 | 0
11KVCAAI03 | Splicing of FO cable (at Geothermal and Laudat substations ODFs) | Sum | 1 |  |  | 0 | 0
11KVCAAI04 | Earthing box with all necessary accessories (cables lugs,…) | pcs | 2 |  |  | 0 | 0
11KVCOM | Testing, Commisioning, Final inspection and Energizing
11KVCOM01 | Testing and commissioning of 11kV cable link | Sum | 1 |  |  | 0 | 0
11KVCOM02 | Testing and commissioning of FO cable link | Sum | 1 |  |  | 0 | 0
11KVCOM03 | Final inspection and energizing | Sum | 1 |  |  | 0 | 0
OTH | OTHER EQUIPMENT
OTH01 | Any other equipment for Substation to fulfill the purpose of the project | Sum | 1 |  |  | 0 | 0
[5 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with ITB 18
2 Quatities are Indicative and the Total is a lumpsum price.

## from pls (hidden)
Row # | Stock Number | Description | Quantity | Unit of Measure | Material Unit Cost | Total Material Cost | Labor Unit Cost | Total Labor Cost | Total Cost
1 | 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 4
2 | 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | Each | 0 | 0 | 0 | 0 | 0 | 4
3 | 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 4
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
Schedule 1 Plant and Mandatory Spare Parts Supplied from Abroad
4 | 2ST01 | Guy property: M24 Stay Rod and guy assy | 184 | Each | 0 | 0 | 0 | 0 | 0 | 1
5 | 3SP02 | Steel Pole property: 19m Pole for Type A suspension tower | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
6 | 3SP04 | Steel Pole property: 20m Pole for Type B angle tens tower. | 9 | Each | 0 | 0 | 0 | 0 | 0 | 1
7 | 3SP05 | Steel Pole property: 18m Pole for Type C tripple pole tower | 21 | Each | 0 | 0 | 0 | 0 | 0 | 1
8 | 4BR01 | Brace property: Brace tie strap for Type C tripple pole | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
9 | 5LP01 | Post property:132kV Braced LP OB-HV-522008-511007 | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
10 | 5LP02 | Post property: 72kV Jumper Post insulator (P250026S107 | 48 | Each | 0 | 0 | 0 | 0 | 0 | 1
11 | 6TA01 | Strain property: 72kV Twin Tens Ins assy (S050030S2010) | 42 | Each | 0 | 0 | 0 | 0 | 0 | 1
12 | 6TA02 | Srain property: OPGW tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
13 | 6TA03 | Strain property: Shield Wire tension assy (100kN) | 32 | Each | 0 | 0 | 0 | 0 | 0 | 1
14 | 6TA04 | Strain property: 72kV Tens Ins assy (S050030S2010) | 54 | Each | 0 | 0 | 0 | 0 | 0 | 1
15 | 7SA02 | Suspension property: OPGW non-ins susp AGS unit | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
16 | 8CL02 | Clamp property: Shield wire clamp assy | 14 | Each | 0 | 0 | 0 | 0 | 0 | 1
17 | 9CO01 | Conductor | 18730.4 | Each | 0 | 0 | 0 | 0 | 0 | 1
18 | 9CO02 | OPGW | 6265.71 | Each | 0 | 0 | 0 | 0 | 0 | 1
19 | 9CO03 | Shield wire | 3728.64 | Each | 0 | 0 | 0 | 0 | 0 | 1
| 11SI01 | Set of aluminium emergency restoration structures | 1 | [6 empty] | 6
| 11SI02 | Complete Type A suspension structure. | 1 | [6 empty] | 6
| 11SI03 | Complete Type B angle structure. | 1 | [6 empty] | 6
| 11SI04 | Complete Type C angle structure. | 1 | [6 empty] | 6
Schedule 4 Installation
| 1FO01 | Foundation for one pole of a Type A guyed suspension tower | 14 | [6 empty] | 4
| 1FO03 | Foundation for one pole of a Type B angle tens tower | 9 | [6 empty] | 4
| 1FO04 | Foundation for one pole of a Type C angle tens tower | 21 | [6 empty] | 4
| 2MO01 | Site Establishment (Lumpsum)) | 1 | [6 empty] | 4
| 3AR01 | Access roads (Lumpsum) | 1 | [6 empty] | 4
| 4BC01 | Bush clearing (Lumpsum) | 1 | [6 empty] | 4
| 5ER01 | Structure erection (Lumpsum) | 1 | [6 empty] | 4
| 6SG01 | Stringing of Conductor (Lumpsum) | 1 | [6 empty] | 4
| 6SG02 | Stringing of OPGW (Lumpsum) | 1 | [6 empty] | 4
| 6SG03 | Stringing of Shield Wire (Lumpsum) | 1 | [6 empty] | 4
| 7HE01 | Helicopter Work (Lumpsum) | 1 | [6 empty] | 4
Schedule 3 Design Services
| SC0301 | Lidar Survey | 1 | [6 empty] | 3
| SC0302 | Manual Survey services | 1 | [6 empty] | 3
| SC0303 | Structure and Line design | 1 | [6 empty] | 3
| SC0304 | Testing Services | 1 | [6 empty] | 3
| SC0305 | Design Software | 1 | [6 empty] | 3
| SC0306 | Training | 1 | [6 empty] | 3