## TRAFALGAR SUB S1
TRAFALGAR SUB S1
Schedule of Rates and Prices
Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Code1 | UOM | Qty. (Indicative)³ | Unit Price2 |  | Total Price2
[5 empty] | Foreign Currency | CIP
|  |  |  | (1) | (2) | (3) | (1) x (3)
1 | Power Transformer
1.1 | Power transformer 2.2/33 kV, 4 MVA ONAN, complete with accessories i.e. rails, rollers, etc. (as per technical specifications) |  | Pcs | 2 |  |  | 0
1.2 | Auxiliary transformer 33/0.4 kV, 100kVA ONAN, complete with accessories, etc. (as per technical specifications) |  | Pcs | 2 |  |  | 0
2 | 33 kV Switchgear
2.1 | Incoming feeder cubicle including IED (as per technical specifications) |  | Pcs | 2 |  |  | 0
2.2 | Outgoing feeder cubicle including IED (as per technical specifications) |  | Pcs | 2 |  |  | 0
2.3 | Auxiliary transformer cubicle including IED (as per technical specifications) |  | Pcs | 2 |  |  | 0
2.4 | Busbar coupling cubicle including IED (as per technical specifications) |  | Pcs | 1 |  |  | 0
2.5 | Measurement cubicle (as per technical specifications) |  | Pcs | 2 |  |  | 0
3 | MV XLPE Cables
3.1 | 33 kV XLPE cables for linking 2.2/33kV 4MVA transformers to the dedicated 33kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) |  | Sum | 2 |  |  | 0
3.2 | 33 kV XLPE cables for linking 33/0.4kV 100kVA transformers to the dedicated 33kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) |  | Sum | 2 |  |  | 0
3.3 | 2.2 kV XLPE cables for linking 2.2/33kV 4MVA transformers to the dedicated 2.2kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) |  | Sum | 2 |  |  | 0
4 | Power and Control Cables
4.1 | 0.4 kV Power cables for outdoor & indoor lighting and power |  | Sum | 1 |  |  | 0
4.2 | Control, protection, metering cables as required |  | Sum | 1 |  |  | 0
4.3 | Cable trays, supports, terminations, etc. |  | Sum | 1 |  |  | 0
5 | Auxillary Supply 400/230 V
5.1 | 0.4 kV AC distribution switchgear and lighting switchboards |  | Sum | 1 |  |  | 0
5.2 | Stand-by Diesel generator 100kVA, 3 phase 400V 50Hz, complete with all accessories |  | Pcs | 1 |  |  | 0
6 | Auxiliary DC supply system
6.1 | 110 V DC supply system with cabling, batteries & charger |  | Sum | 1 |  |  | 0
6.2 | 110 V DC distribution system |  | Sum | 1 |  |  | 0
6.3 | 48 V DC distribution system with cabling, batteries & charger |  | Sum | 1 |  |  | 0
6.4 | 48 V DC distribution system |  | Sum | 1 |  |  | 0
6.5 | Emergency lighting system 110V DC buffered by batteries, for control building |  | Sum | 1 |  |  | 0
6.6 | 110 VDC/230 VAC dual inverter |  | Sum | 1 |  |  | 0
7 | Indoor Control Panel
7.1 | 2.2/33 kV 4MVA Transformer bay with AVR |  | Pcs | 2 |  |  | 0
7.2 | Common Alarm including RTU and all necessary accessories |  | Pcs | 1 |  |  | 0
7.3 | Metering Panel |  | Pcs | 1 |  |  | 0
8 | Indoor Protection Panel
8.1 | 2.2/33 kV 4MVA Transformer bay |  | Pcs | 2 |  |  | 0
9 | Substation Control and Monitoring System (SCMS)
9.1 | Operator/Engineering workstations, UCPs, station buses, ethernet switches, printers, complete GPS synchronisation system, etc… including softwares with full licenses (as per technical specifications) |  | Sum | 1 |  |  | 0
9.2 | Connection equipment (copper cable, fiber optics, connectors, junction box, cable tray, cords, special telecom cables, ...) |  | Sum | 1 |  |  | 0
9.3 | Interface Gateway to remote workstation (and future Remote control center) |  | Sum | 1 |  |  | 0
9.4 | Operator desk and chairs |  | Sum | 1 |  |  | 0
10 | Telecommunication System
10.1 | FO approach cable 48F (between substation and power plant ODFs) with all necessary accessories |  | Sum | 1 |  |  | 0
10.2 | Cabinet with redundant power supply including (but not limited) to: Optical distribution frame with pigtails, SDH/Router terminal equipment and terminal multiplexer, 10 Base-T/100Base-TX fast Ethernet ports, PCM access multiplexer and accessories |  | Sum | 1 |  |  | 0
10.3 | Telephone IP sets incl. Cabling and interfacing to FO access mux and central PABX |  | Pcs | 3 |  |  | 0
10.4 | Necessary equipment for linking existing power station communication system to Fond Cole control center |  | Sum | 1 |  |  | 0
11 | Earthing and Lightning Installation
11.1 | Earthing, equipotential bonding complete with all required cables, rods and accessories, etc. with connection to power plant earth grid |  | Sum | 1 |  |  | 0
11.2 | Lightning protection system for outdoor switchyard and control building (lightning mast/rod, overhead ground wire) complete with all required cables and accessories |  | Sum | 1 |  |  | 0
12 | Miscellaneous
12.1 | Air conditioning system, Indoor and outdoor lighting/sockets, CCTV System, fire alarm system, plumbing, etc. |  | Sum | 1 |  |  | 0
13 | Other Equipment
13.1 | Any other equipment for Substation to fulfill the purpose of the project |  | Sum | 1 |  |  | 0
[6 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0
Name of Bidder
Signature of Bidder
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
3 Quatities are Indicative and the Total is a lumpsum price.
Country of Origin Declaration Form
| Item | Description |  | Code | Country

## TRAFALGAR SUB S2
TRAFALGAR SUB S2
Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Item | Description | UOM | Qty. | EXW Unit Price1 | Sales and other taxes payable per line item if Contract is awarded (in accordance with ITB 17.5 (b) (ii) | EXW Total Price1
| Not Applicable |  | (1) | (2) | (3) | (1) x (2)
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1

## TRAFALGAR SUB S3
TRAFALGAR SUB S3
Schedule No. 3. Design Services
Item | Description | UOM | Qty. | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
1 | Design, engineering and documentation
1.1 | Preparation works, localisation of substations, check of existing infrastructure, data collection, etc. | Sum | 1 |  |  | 0 | 0
1.2 | Topographical surveys, | Sum | 1 |  |  | 0 | 0
1.3 | Geotechnical investigations | Sum | 1 |  |  | 0 | 0
1.4 | Design and studies
| Design and studies of civil engineering works: outdoor switchyard, control building, outdoor foundations, roads, drainage system, etc. | Sum | 1 |  |  | 0 | 0
| Insulation coordination study and Design of indoor and Outdoor electrical/electromechanical equipments: Transformers, Switchgears, LV Panels, etc. | Sum | 1 |  |  | 0 | 0
| Design of SCMS and Telecommunication equipment | Sum | 1 |  |  | 0 | 0
1.5 | Documentation, drawings, schematics and as built documents | Sum | 1 |  |  | 0 | 0
|  |  | TOTAL (to Schedule No. 5. Grand Summary) |  |  | 0 | 0
Name of Bidder
Signature of Bidder

## TRAFALGAR SUB S4
TRAFALGAR SUB S4
Schedule No. 4. Installation and Other Services
Item | Description | UOM | Qty. (Indicative)² | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local | Foreign
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
1 | GENERAL MOBILIZATION AND DEMOBILIZATION
1.1 | Mobilization and the site installation: offices, furniture, and storage area | Sum | 1 |  |  | 0 | 0
1.2 | Demobilization, site cleaning, and transportation of spare parts and surplus equipment to the Employer's warehouse | Sum | 1 |  |  | 0 | 0
2 | Civil Works
2.1 | BUILDING EXCAVATION + BACKFILLING + LEVELING
2.1.1 | EXCAVATION OPERATIONS
Building and Roadways Foundations
a) | Excavation under the MV room foundation | m³ | 600 |  |  | 0 | 0
b) | Cut operation regarding the natural ground surface | m³ | 110 |  |  | 0 | 0
c) | Excavation for the duct bank of the 11 kv cables | m³ | 231.192 |  |  | 0 | 0
d) | Excavation under heavy railed road (e = 35 cm) | m³ | 160 |  |  | 0 | 0
2.1.2 | BACKFILLING OPERATIONS
Buildings + Roadways
a) | Backfiling above the MV room foundation | m³ | 563.2 |  |  | 0 | 0
b) | Fill operations regarding the natural ground surface | m³ | 120 |  |  | 0 | 0
c) | Backfilling above the duct bank of the 11 kv cables | m³ | 186.192 |  |  | 0 | 0
d) | Special Backfilling under the railed heavy road + Compaction operations | m³ | 133.75 |  |  | 0 | 0
2.1.3 | LEVELING OPERATIONS
| Leveling operations | m² | 75 |  |  | 0 | 0
2.2 | BUILDING CONCRETE, FORMWORK AND REINFORCEMENT WORKS
2.2.1 | Lean CONCRETE
a) | Lean concrete under MV room foundation | m³ | 12 |  |  | 0 | 0
b) | Lean concrete under the duct bank of the 11 kv cables | m³ | 12.024 |  |  | 0 | 0
c) | Lean concrete under heavy railed road | m³ | 0.6 |  |  | 0 | 0
2.2.2 | CONCRETE WORKS
Foundations
a) | MC room foundation | m³ | 51 |  |  | 0 | 0
Columns
a) | Building's columns | m³ | 15 |  |  | 0 | 0
Slabs
a) | Ground Floor under the MV room | m³ | 22.5 |  |  | 0 | 0
b) | Building Slabs at the level +100 | m³ | 40.5 |  |  | 0 | 0
c) | Roof +slop for drainage | m³ | 47.25 |  |  | 0 | 0
d) | Slab under the Battery and auxiliary room | m³ | 6 |  |  | 0 | 0
e) | Roof under the Battery and auxiliary room | m³ | 5 |  |  | 0 | 0
Parapets
a) | Parapets all aroud the building | m³ | 13 |  |  | 0 | 0
b) | Waterproofing of the roof and parapet | m2 | 189 |  |  | 0 | 0
Firewalls
a) | Concrete Fire walls | m³ | 57 |  |  | 0 | 0
Roads
a) | Heavy railed road (e = 35 cm) | m³ | 27 |  |  | 0 | 0
Stairs
a) | Concrete stairs | m³ | 3 |  |  | 0 | 0
Ramp
a) | Concrete ramp | m³ | 6 |  |  | 0 | 0
Duct Bank of the 11 kv cables
a) | Concrete for the base | m³ | 30 |  |  | 0 | 0
b) | Concrete for the walls | m³ | 22.725 |  |  | 0 | 0
c) | Concrete for cover | m³ | 25 |  |  | 0 | 0
2.2.3 | HOLLOW BLOCKS + FINISHES WORKS
Hollow Blocks + False Ceiling + Raised Floors
a) | Hollow Blocks Walls | m² | 157.5 |  |  | 0 | 0
b) | False Ceiling in control room, protection room, telecom room, AC/DC charger room | m² | 83.603 |  |  | 0 | 0
c) | Raised Floor in control room, protection room, telecom room, AC/DC charger room | m² | 83.603 |  |  | 0 | 0
Plastering
a) | Smooth walls plastering | m² | 315 |  |  | 0 | 0
b) | Battery room wall's plastering | m² | 10.2 |  |  | 0 | 0
c) | Roofs plaster except for the battery room | m² | 128.62 |  |  | 0 | 0
d) | Roofs plaster for the battery room | m² | 6.38 |  |  | 0 | 0
e) | Floor screed for battery room | m² | 6.38 |  |  | 0 | 0
g) | Screed for floors before Anti - dust painting | m² | 128.62 |  |  | 0 | 0
Painting
a) | Walls painting | m² | 315 |  |  | 0 | 0
b) | Anti acid walls painting | m² | 10.2 |  |  | 0 | 0
c) | Super caoutchouc painting for roofs, except for the battery room | m² | 128.62 |  |  | 0 | 0
d) | Anti acid painting for the roof of the battery room | m² | 6.38 |  |  | 0 | 0
e) | Anti acid floors painting for the battery room | m² | 6.38 |  |  | 0 | 0
f) | Anti - dust painting for floors | m² | 128.62 |  |  | 0 | 0
Tiling
a) | Non slip granit tiling | m² | 129 |  |  | 0 | 0
b) | Anti acid non slip tiling | m² | 6 |  |  | 0 | 0
2.2.4 | CARPENTRY
Fire Doors
a) | SIMPLE LeaF 90*240 | Pcs | 2 |  |  | 0 | 0
b) | DOUBLE LeaF 1.5*2.4 | Pcs | 4 |  |  | 0 | 0
c) | DOUBLE LeaF 2.1*2.4 | Pcs | 1 |  |  | 0 | 0
Glaze window
a) | Window 1.2*0.4 | Pcs | 9 |  |  | 0 | 0
b) | Window 0.6*0.6 | Pcs | 1 |  |  | 0 | 0
2.2.5 | OTHER
a) | Drainage System in and around the substation to avoid any futur probable risk of flooding | Sum | 1 |  |  | 0 | 0
b) | Electrical works | Sum | 1 |  |  | 0 | 0
c) | Sanitary works | Sum | 1 |  |  | 0 | 0
d) | CLeaning and restoration works | Sum | 1 |  |  | 0 | 0
2.3 | TRANSFORMER ZONE EXCAVATION + BACKFILLING + LEVELING
| Excavation for the Raft Foundation under the two transformers | m³ | 299.2 |  |  | 0 | 0
| Lean concrete under raft foundation under the TR | m³ | 13.7 |  |  | 0 | 0
| Raft Foundation under TR | m³ | 52 |  |  | 0 | 0
| Screed under the 2 transformer | m³ | 16.25 |  |  | 0 | 0
| Fire resistant grating below the two transformer | m² | 40 |  |  | 0 | 0
| Railed Beam's under the transformer | m³ | 14 |  |  | 0 | 0
| Fire walls around the transformers and the building | m³ | 51.06 |  |  | 0 | 0
| CLeaning and restoration works | Sum | 1 |  |  | 0 | 0
3 | Power Transformer
3.1 | Power transformer 2.2/33 kV, 4 MVA ONAN, complete with accessories i.e. rails, rollers, etc. (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
3.2 | Auxiliary transformer 33/0.4 kV, 100kVA ONAN, complete with accessories, etc. (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
4 | 33 kV Switchgear
4.1 | Incoming feeder cubicle including IED (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
4.2 | Outgoing feeder cubicle including IED (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
4.3 | Auxiliary transformer cubicle including IED (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
4.4 | Busbar coupling cubicle including IED (as per technical specifications) | Pcs | 1 |  |  | 0 | 0
4.5 | Measurement cubicle (as per technical specifications) | Pcs | 2 |  |  | 0 | 0
5 | MV XLPE Cables
5.1 | 33 kV XLPE cables for linking 2.2/33kV 4MVA transformers to the dedicated 33kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) | Sum | 2 |  |  | 0 | 0
5.2 | 33 kV XLPE cables for linking 33/0.4kV 100kVA transformer to the dedicated 33kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) | Sum | 2 |  |  | 0 | 0
5.3 | 2.2 kV XLPE cables for linking 2.2/33kV 4MVA transformers to the dedicated 2.2kV cubicles with all accessories, both sides terminations, cable trays, supports, etc. (as per technical specifications) | Sum | 2 |  |  | 0 | 0
6 | Power and Control Cables
6.1 | 0.4 kV Power cables for outdoor & indoor lighting and power | Sum | 1 |  |  | 0 | 0
6.2 | Control, protection, metering cables as required | Sum | 1 |  |  | 0 | 0
6.3 | Cable trays, supports, terminations, etc. | Sum | 1 |  |  | 0 | 0
7 | Auxillary Supply 400/230 V
7.1 | 0.4 kV AC distribution switchgear and lighting switchboards | Sum | 1 |  |  | 0 | 0
7.2 | Stand-by Diesel generator 100kVA, 3 phase 400V 50Hz, complete with all accessories | Pcs | 1 |  |  | 0 | 0
8 | Auxiliary DC supply system
8.1 | 110 V DC supply system with cabling, batteries & charger | Sum | 1 |  |  | 0 | 0
8.2 | 110 V DC distribution system | Sum | 1 |  |  | 0 | 0
8.3 | 48 V DC distribution system with cabling, batteries & charger | Sum | 1 |  |  | 0 | 0
8.4 | 48 V DC distribution system | Sum | 1 |  |  | 0 | 0
8.5 | Emergency lighting system 110V DC buffered by batteries, for control building | Sum | 1 |  |  | 0 | 0
8.6 | 110 VDC/230 VAC dual inverter | Pcs | 1 |  |  | 0 | 0
9 | Indoor Control Panel
9.1 | 2.2/33 kV 4MVA Transformer bay with AVR | Pcs | 2 |  |  | 0 | 0
9.2 | Common Alarm including RTU and all necessary accessories | Pcs | 1 |  |  | 0 | 0
9.3 | Metering Panel | Pcs | 1 |  |  | 0 | 0
10 | Indoor Protection Panel
10.1 | 2.2/33 kV 4MVA Transformer bay | Pcs | 2 |  |  | 0 | 0
11 | Substation Control and Monitoring System (SCMS)
11.1 | Operator/Engineering workstations, UCPs, station buses, ethernet switches, printers, complete GPS synchronisation system, etc… including softwares with full licenses (as per technical specifications) | Sum | 1 |  |  | 0 | 0
11.2 | Connection equipment (copper cable, fiber optics, connectors, junction box, cable tray, cords, special telecom cables, ...) | Sum | 1 |  |  | 0 | 0
11.3 | Interface Gateway to remote workstation (and future Remote control center) | Sum | 1 |  |  | 0 | 0
11.4 | Operator desk and chairs | Sum | 1 |  |  | 0 | 0
12 | Telecommunication System
12.1 | FO approach cable 48F (between substation and power plant ODFs) with all necessary accessories and splicing to pigtails | Sum | 1 |  |  | 0 | 0
12.2 | Cabinet with redundant power supply including (but not limited) to: Optical distribution frame with pigtails, SDH/Router terminal equipment and terminal multiplexer, 10 Base-T/100Base-TX fast Ethernet ports, PCM access multiplexer and accessories | Sum | 1 |  |  | 0 | 0
12.3 | Telephone IP sets incl. Cabling and interfacing to FO access mux and central PABX | Pcs | 3 |  |  | 0 | 0
12.4 | Necessary equipment for linking existing power station communication system to Fond Cole control center | Sum | 1 |  |  | 0 | 0
13 | Earthing and Lightning Installation
13.1 | Earthing, equipotential bonding complete with all required cables, rods and accessories, etc. with connection to power plant earth grid | Sum | 1 |  |  | 0 | 0
13.2 | Lightning protection system for outdoor switchyard and control building (lightning mast/rod, overhead ground wire) complete with all required cables and accessories | Sum | 1 |  |  | 0 | 0
14 | Miscellaneous
14.1 | Air conditioning system, Indoor and outdoor lighting/sockets, CCTV System, fire alarm system, plumbing, etc. | Sum | 1 |  |  | 0 | 0
15 | Testing, Commisioning, Final inspection and Energizing
15.1 | Testing and commissioning | Sum | 1 |  |  | 0 | 0
15.2 | Final inspection and energizing | Sum | 1 |  |  | 0 | 0
16 | Other Equipment
16.1 | Any other equipment for Substation to fulfill the purpose of the project | Sum | 1 |  |  | 0 | 0
[5 empty] | TOTAL (to Schedule No. 5. Grand Summary) | 0 | 0
Name of Bidder
Signature of Bidder
1 Specify currency in accordance with ITB 18
2 Quatities are Indicative and the Total is a lumpsum price.

## TRAFALGAR SUB S5
TRAFALGAR SUB S5
Schedule No. 5. Grand Summary
Item | Description | Total Price1
|  | Local | Foreign | TRAFALGAR SUB S5
TRAFALGAR SUB S1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad | N/A | 0
TRAFALGAR SUB S2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country | 0 | N/A
TRAFALGAR SUB S3 | Total Schedule No. 3. Design Services | 0 | 0
TRAFALGAR SUB S4 | Total Schedule No. 4. Installation and Other Services | 0 | 0
| TOTAL (to Letter of Bid) | 0 | 0
Name of Bidder
Signature of Bidder
1Specify currency in accordance with ITB 18. Create and use as many columns for Foreign Currency requirement as there are foreign currencies

## TRAFALGAR SUB S6
TRAFALGAR SUB S6
Schedule No. 6. Recommended Spare Parts
Item | Description | UOM | Qty. | Unit Price |  | Total Price
|  |  |  | EXW | CIF or CIP
|  |  |  | (local parts) | (foreign parts) | (local parts) | (foreign parts)
|  |  | (1) | (2) | (3) | (1) x (2) | (1) x (3)
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
|  |  | TOTAL |  |  | 0 | 0
Name of Bidder
Signature of Bidder

## TRAFALGAR NOTES
TRAFALGAR NOTES
Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad
item ??
Add info
Add info
item ??
Add info
Add info
item??
Add info
Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
SALES AND OTHER TAXES
Add info
Add info
Schedule No. 3. Design Services
TOPOGRAPHICAL SURVEYS AND STUDIES
Add info
Item ??
Add info
Schedule No. 4. Installation and Other Services
MOBILIZATION AND DEMOBILIZATION
Add info
BUILDINGS EXCAVATION + BACKFILLING + LEVELING
Add info
Add info
BUILDINGS CONCRETE, FORMWORK AND REINFORCEMENT WORKS
Add info
Add info
HOLLOW BLOCKS + FINISHES WORKS
Add info
Add info
CARPENTRY
Add info
Add info
OTHER
Add info
Add info
TRANSFORMER ZONE EXCAVATION + BACKFILLING + LEVELING
Add info
Add info
Schedule No. 6. Recommended Spare Parts
Add info
Add info